BEFORE THE JOINT  ELECTRICITY REGULATORY COMMISSION

## MYT PETITION NO: …..…

## of  2024

| IN THE MATTER OF | : | MYT Petition under Section 62 and 83 (4) of the Electricity Act 2003 read with chapter-2 of the Joint Electricity Regulatory Commission (Terms & Conditions for Determination of Tariff) Regulations, 2024 for approval of Tariff for Karaikal Gas Power Station, (32.5 MW) for the control period 2025-26 to 2029-30. |
| --- | --- | --- |
| AND IN THE MATTER OF: |  |  |
| PETITIONER | : | The Managing Director, Puducherry Power Corporation Ltd.(PPCL), #10, Second Cross, Jawahar Nagar, Boomianpet, Puducherry-605 005. |
| RESPONDENT | : | The Superintending Engineer-cum-HOD, Electricity Department, Govt. of Puducherry, 137, NSC Bose Salai, Puducherry – 605 001. |

MEMORANDUM OF TARIFF PETITION

MOST RESPECTFULLY SHOWETH:

- The Petitioner herein i.e. the Puducherry Power Corporation Ltd. (PPCL) is a Government of Puducherry undertaking and is a Government Company within the meaning of the Companies Act, 1956.  Further, it is a “Generating Company” as defined under Section 2(28) of the Electricity Act, 2003.

2.0.	The Puducherry Power Corporation Ltd was incorporated on 30.03.1993 with the objective of generating 32.5 MW of Electricity (22.9 MW from gas turbine and 9.6 MW from Steam turbine) at Karaikal which is one of the outlying regions of Union Territory of Puducherry. The required gas of 1.91 lakhs cu.m of gas per day is obtained from the gas wells at Narimanam in the Cauvery basin under an agreement with the GAIL (India) Ltd. Gas consumed per day depends on the load and the GCV.

3.0.	The Karaikal Gas Power Station was declared commercial operation w.e.f. 03.01.2000 and is supplying power to Electricity Dept., Puducherry under a PPA signed with them on 25.02.2002.  Consequent to setting up of Hon’ble Joint Electricity Regulatory Commission, the Petitioner had filed first petition for determination of tariff for the period 2011-12.  The Hon’ble Commission vide Order dated 06.08.2011 had determined tariff with effect from June, 2011.  At present, the Petitioner is operating at the tariff rate fixed by the Hon’ble Commission for the PPCL vide order dated 10th June 2024 on the basis of petition filed for the tariff period 2024-25.

- Section 62 of Electricity Act, 2003 provides for determination of tariff by the Appropriate Commission for supply of electricity by a generating company. The Hon’ble Commission, under Section 83(4) of Electricity Act, 2003, is vested with the jurisdiction to regulate the tariff of the Generating Companies owned or controlled by the Govt. of Union Territories.

- In terms of Section 61 of the Electricity Act, 2003 this Hon’ble Commission has also notified the Joint Electricity Regulatory Commission (Terms & Conditions for Tariff) Regulations, 2024 (hereinafter referred to as ‘Tariff Regulations, 2024).

- In terms of the Tariff Regulations, 2024, the Petitioner has formulated the MYT petition for Karaikal Station for the control period 2025-26 to                    2029-30.  As per Regulation 9 of Tariff Regulations, 2024 the formats 1G to 12G as applicable to generating Companies have been filled in and placed at Annexure-I. The various assumptions considered for finalization of tariff brought up in the following paras is as per the methodologies specified by this Hon’ble Commission as well as the Hon’ble CERC as the case may be. All the tables have been filled up as per CERC  as far as possible.

- The Tariff has been calculated as fixed /capacity charges in Cr./per annum and the energy charges calculated based on cost of fuel/gas consumed for generation of electricity, as provided in the Chapter-4 of JERC Regulation, 2024 of the generating company.  The JERC/CERC Regulations have been kept in view as applicable while finalizing this petition and formulating tariff for instant station.

- CAPITAL COST:

- The Petitioner has claimed the total capital cost as stated in JERC Regulation 23 of the Tariff Regulations, 2024.  The Petitioner has prepared the MYT petition for the control period 2025-26 to                  2029-30 by considering the capital cost of `.164.44 crores as opening capital cost as per Hon’ble Commission Order dated 10.06.2024.  The total Capital Cost of `.166.77 crores is upto 31.03.2024, as per the unaudited financial statement pertaining to the financial year 2023-24.

- It is submitted to the Hon’ble Commission may allow the claim of the Petitioner for a capital cost of `.164.44 crores as approved in the Order dated 10.06.2024 for the control period 2025-26 to 2029-30.

- RETURN ON EQUITY

- It is submitted that as per Regulation 30 of the Tariff Regulations, 2024 (CERC Regulations, 2024) the tariff determination is by splitting the capital expenditure into debt and equity of 70:30.  If the equity employed is more than 30%, the amount of equity for determination of tariff is limited to 30% and the balance amount is considered as normative loan.  In case of instant station, since the entire capital cost has been funded from the own funds, the equity has been considered at the normative level of  30% and the balance 70% has been considered as normative loan for calculation of Interest on Loan component of capacity charges.

- The return on Equity has been calculated @ 20.713% for the year 2025-26 as per JERC Regulation 28 of the Tariff Regulations, 2024 read with CERC Tariff Regulations 2024.

- It is submitted that Petitioner does not have tax holiday with effect from the financial year 2010-11 as the tax holiday was applicable to the Corporation up to 2009-10.  As therefore, the Petitioner is claiming return on equity in the tariff petition at grossing rate                        @ 20.713 %.

- It is respectfully prayed that the return on equity as calculated                       @ 20.713 % may be allowed by the Hon’ble Commission.

- DEPRECIATION ON ASSETS

- The rate of depreciation has been considered as per JERC              Regulation 31 of the Tariff Regulations, 2024 read with the applicable CERC Regulations 2024. In this regard, it is submitted before the Hon’ble Commission that the accumulated depreciation of the respective individual Asset has been restricted to 90% of the Capitalized value of the Assets in order to keep the 10% of the Cost as WDV as per Regulation 31 beyond which the depreciation has not been claimed in view of the provisions in the Tariff Regulations, 2024.

- The station is more than 24 years old and Petitioner has calculated depreciations accordingly. The claim of the Petitioner is on the same methodology as adopted for the previous years.

- It is prayed that the depreciation may be allowed as claimed by the Petitioner.

- INTEREST ON WORKING CAPITAL

For computing the element of Interest on Working Capital (IWC) of fixed/capacity charges the rate of interest considered is SBI Base Rate as on 01.4.2025 as per CERC Regulations 2024 Regulation 34 (c). The energy charges considered while working out IWC are based on average actual fuel consumption and payments made pertaining the period commencing from July ’24, August ’24, September’24 and October’24 and the same as per Petitioner’s unaudited annual accounts.

- OPERATION & MAINTENANCE (O&M) EXPENSES

The Operation and Maintenance expenses element of Fixed/Capacity charges has been taken @  `.64.57  lac/MW * 6.80% = `.68.96 lac/MW as   approved by the Commission in its tariff order dated 10th June 2024.

- HEAT RATE AND AUXILIARY CONSUMPTION

- The Tariff Regulations, 2024 of the Hon’ble Commission provides that the norms and parameters of the Central Commission’s Tariff Regulations shall be applicable. The Central Commission’s Regulations provide for determination of Station Heat Rate on the basis of Gross Calorific Value (GCV).

- The Station design net heat rate is 2291 Kcal/kwh. A copy of the heat balance diagram for design heat rate is enclosed in Annexure-II. The gross heat design heat for net station design heat rate of 2291 Kcal/kwh works out to (2291*1.1) 2520 Kcal/kwh considering a conversion factor of 1.1 i.e. GCV = 110% of NCV. Further, applying the degradation factor of 5% as per the CERC regulations, the normative GSHR comes to 2520 * 1.05 = 2646 Kcal/kwh.  The Commission approved the Gross Station Heat Rate at 2646 kcal/kWh for the FY 2015-16 on the basis of the submission of the Performance Guarantee Report of the Corporation for the guaranteed heat rate of 2291 kcal/kWh (on the basis of the NCV of the gas).

- With regard to auxiliary power consumption, the Petitioner seeks to invoke the power of the Hon’ble Commission to deviate from the Tariff Regulations, 2024 considering the peculiar facts of the case and for reasons beyond the control of the Petitioner. The Auxiliary Power Consumption (APC) is considered as per actual based on period from 01.04.2020 to 31.03.2021, which is 5.5%, because the station has electric Gas Booster Compressor pumps due to which APC is higher.

- It is submitted that Auxiliary Power Consumption (APC) for PPCL as per the schedule guarantees of combined cycle power plant was 1600 kw which 5%. So the plant has been designed for 5% APC and cannot be suddenly reduced to 3.3 %.Schedule of guarantee of PPCL is enclosed as Annexure-III for reference.

- In a similar case of  Lanco Tanjore Power Company Ltd (formerly known as Aban Power Company Ltd) vs Tamil Nadu Generation and Distribution Corporation Limited (TANGEDCO) Hon’ble TNERC as allowed APC of                5.5%. Copy of the judgement is enclosed as Annexure-IV for kind perusal. Hon’ble TNERC has ruled that “In view of the essential technical requirements of the distinct nature of the Petitioner’s plant to increase the start up power from the currently permitted level of 3.993 MVA to                    4.5 MVA and such marginal increase is not going to cause any technical constraint of financial loss to the respondent, the Respondent licensee is directed to approve the level of start up power to 4.5 W and auxiliary consumption of 5.5% to the Petitioner’s plant as permitted earlier.

- Thus the APC as per the guarantee parameters is 5% it is not possible for the Petitioner to achieve the norms specified in the Regulations, which are applicable generally. The technical factors such as site condition, plant capacity, nature of operation, operational requirements etc which play the collective role to decide the APC in question remains same since the inception of the operation of the plant from 2000. It is for this specific purpose that where there is sufficient justification and taking into account the facts of a particular generator, the power to relax and the power to deviate are provided for.

- It is submitted that the month wise under recovery of Energy Charges on account of APC and Heat rate is enclosed as Annexure-V.  For the                       FY 2023-24, the under recovery for APC is `.5.22 crores, whereas for              FY 2024-25 till Oct’24 is `.8.37 crores.  Hence, request for relaxation of APC to 5.0% as allowed in the case of TNERC may be considered.

- Applying the above analogy, the Petitioner is praying for the APC of 5.0%.  The Petitioner is placing all the relevant pages from the above Judgments / Orders.

- The Hon'ble Commission may consider the facts and factors and allow the Petitioners to avail the actual auxiliary consumption made during the period from 01.04.2021 to 31.03.2022 of the tariff year 2021-22.

- FUEL COST

It is submitted that the Petitioner has considered requirement of fuel stock etc. for working out interest on working capital and the Variable Charges for power supply from Karaikal station, based on landed cost of gas for the months of July’24, August’24, September’24 and October’24 instead of landed cost of the gas for the months of Jan.’24, Feb.’24 and March’24. This has been considered to arrive the fuel cost in realistic manner. Therefore, it is prayed that Hon’ble Commission may please allow working out of capacity and variable charges based on weighted average landed cost of gas for the months of July’24, August’24, September’24 and October’24 for the FY 2024-25. The Gas price is at present 6.5 $/MMBTU.

- NORMATIVE ANNUAL PLANT AVAILABILITY FACTOR (NAPAF):

- It is submitted that PPCL is not connected to State Load Dispatch Centre (SLDC) since the inception of plant operation. So there are no instructions from SLDC regarding the maintenance of load. So the PPCL plant generates at full load unless the plant load is restricted due to i) islanding, ii) due to reduced gas flow from GAIL iii) due to lack of  load from Electricity Department. PPCL ie ready to provide the Plant Availability Factor but since it is not validated by the SLDC. Hence PPCL may be allowed to give the NAPAF as per the assumptions mentioned in para I(ii) of this petition. In terms of Regulation 38 of the Tariff Regulations, 2024 read with the CERC Regulations, 2024, the Petitioner is praying for Normative Annual Plant Availability Factor of 85%. The CERC has specified Normative Annual Plant Availability Factor (NAPAF) for recovery of full fixed charges at 85% for the period 2024-29 for thermal generating stations.

- The Hon’ble Commission may be pleased to fix the norm-“Normative Annual Plant Availability Factor” for the Karaikal station for recovery of full fixed charges for the control period FY 2025-26 to 2029-30 at 85%.

- ANNUAL PERFORMANCE REVIEW FOR FY 2024-25:

i.      The details of Annual Performance Review for FY 2024-25 is enclosed in the Annexure - VI. The cumulative Plant load Factor from April’24 to October’24 is 73.83% and cumulative generation from April’24 to October’24 is 123.23 MU.

ii. ANNUAL FIXED CHARGES AND ENERGY CHARGES

Based on above, the Annual Fixed/Capacity charges have been worked out for the control period 2025-26 to 2029-30 (for detailed computations please refer Annexure-I). The monthly Capacity Charge payable shall be calculated as per the formula given in para 62 of CERC Tariff regulation 2024-29. As per regulation 62(2) of CERC tariff regulation 2024-29, ”hours of peak and off peak periods during the day“ shall be declared by the concerned RLDC atleast one week in advance. Further High demand season (3 months) and low demand season (9 months) shall be declared by the concerned RLDC at least 6 months in advance. Since RLDC has not communicated the above data to PPCL, so PPCL may be allowed to calculate capacity charges as per the formula given in para 62(2) of  CERC Tariff regulation 2024-29 with the following data;

i) Peak period of the day (4 hours) : 18.00 hrs to 22.00 hrs,

ii) Off peak period hours of the day (20 hours) : 00.00 hrs to 18.00hrs & 22.00 hrs to 24.00 hrs,

iii) High demand season (3 months) : April, May & June.

iv) Low demand season (9 months): January, February, March, July, August, September, October, November & December.

| Financial Year | Annual Capacity charge (` In Cr.) |
| --- | --- |
| 2025-26 2026-27 2027-28 2028-29 2029-30 | ` 38.60 crores ` 40.20 crores ` 41.90 crores ` 43.72 crores ` 45.66 crores |

The energy charges to be billed every month shall be as per following formula based on CERC Regulations 2024.

Energy Charge (ECR) = GHRxLGPx100/{GCVx(100-APC)},-------- A

Where ECR = Energy charge rate, in Rs per KWH sent out upto three decimal charges,

GHR= Normative Gross Station Heat Rate in Kcal/kwh,

LGP= Weighted average landed price of gas in Rs/SCM, during calendar month,

GCV= Gross calorific value of gas, in Kcal per SCM during the calendar month,

APC= Normative Auxiliary Power Consumption in percentage

The petitioner has considered Gross Station Heat Rate = 2646 kcal/Kwh   Auxiliary Power Consumption (APC) = 5%.

- STATUTORY LEVIES /TAXES ETC

It is submitted that in addition to Billing of Fixed/capacity charges & Energy charges as being submitted for approval of this Hon’ble Commission, the Petitioner may be allowed to recover statutory taxes, duties, etc., on actuals.

- It is also submitted that the Petitioner is presently raising bills for the energy supplied to The Respondent - Electricity Dept., Govt. of Puducherry with normative Gross heat rate of 2646 Kcal/kwh and Auxiliary power consumption of 3.3%  w.e.f. 01.04.2024 as energy charges per unit and                   `.39.23 crores as capacity charges per annum at 85% PLF for the tariff period 2024-25 vide order dated 10.06.2024 issued by the Hon’ble Commission.

- As regard the Accounts for FY 2022-23 and FY 2023-24, the Petitioner is filing the unaudited accounts for FY 2022-23 and FY 2023-24 as Annexure–VII and Annexure-VIII.  The above said two financial statements are subject to Board’s approval and audit of the Statutory Auditor and a direction / approval of the Government of Puducherry is expected for the Dividend proposal seeking Government approval for rate of dividend and amount to be incorporated in the financial statement of the financial year 2022-23 and 2023-24, as per the Accounting Standard after which it would be placed before the Board for its approval and forward to the Statutory auditor for further audit. The copies of invoice raised by GAIL for the period 01.04.2024 to 30.11.2024 are attached hereto as Annexure–IX.

PRAYER

- In view of the above, the Petitioner prays as under –

- Approve the tariff for the control period 2025-26 to 2028-29 as brought out in this Petition as detailed below at 85% NAPAF.

Fixed cost	FY 2025-26            -  `.38.60 Crores per annum

FY 2026-27            -  `.40.20 Crores per annum

FY 2027-28            -  `.41.90 Crores per annum

FY 2028-29            -  `.43.72 Crores per annum

FY 2029-30            -  `.45.66 Crores per annum

Variable Energy Charges	- As per formula in JERC regulation 2024

Clause 44(1)(c)with normative SHR

of 2646 Kcal/kwh and  normative AUX

of  5.0%.

ii)Allow the “Normative Annual Plant Availability Factor” @  85%  as per the formula laid down in the JERC Regulation 2024 vide clause No.44 for  Karaikal Power Station for the year 2025-26 for full fixed cost recovery with the following

a) Peak period of the day (4 hours) : 18.00 hrs to 22.00 hrs.

b) Off peak period hours of the day (20 hours) : 00.00 hrs to 18.00hrs & 22.00 hrs to 24.00 hrs,

c) High demand season (3 months) : April, May & June.

d) Low demand season (9 months) : January, February, March, July, August, September, October, November & December.

iii) Allow capital cost as prayed by the Petitioner.

- Allow the recovery of filing fees as and when paid to the Hon’ble Commission and publication expenses from the beneficiary.

- Pass any other order in this regard as the Hon’ble Commission may find appropriate in the circumstances pleaded above.

|  | PETITIONER – PUDUCHERRY POWER CORPORATION LIMITED PLACE |
| --- | --- |

PLACE  : Karaikal

DATE    :  23.12.2024